Village of Payne CSO Annual Report

(May 1, 2025– May 1, 2026)

CSO Locations:

1.)	002 - State Route 500 Inlet 40” Overflow 40” with 2 swing checks

2.)	003 is now located at the retention pond.

3.)	Fox Street Inlet 10” overflow 8” This no longer exists; it was capped in 1999. (This was previously coded as 003)

	A CSO Overflow Event at station# 003 (the retention pond) during A Multiple day very high rain event. Overflow was discovered on 4/1 at 14:00 hours. A noticeable discharge of an estimated 5 million gallons of water for a 5-day period out of the retention pond off st route 500 into the Flat Rock creek. This event ended on 4/6 at 14:00 hours.

	Permittee Contact information can also be found at Payne village hall located at (119 N. Main St. Payne, OH 45880 Phone: 419-263-2514 ext 6

	The Village has put in and maintained a retention pond located off State Route 500. The Village and EPA hopes to limit overflows to one or less a year depending on precipitation.

	If any discharge is seen please contact Brant Heck, Payne Water/Wastewater superintendent, 419-263-8023 Email: Waterdept@villageofpayne.com , Or Jarrod Childs, BPA President, Bpa@villageofpayne.com

	Minimum control:

o	The village provides proper operation and maintenance for the cso and sewer system

o	The village uses the storage system during wet weather to its maximum capacity before allowing an overflow

o	The village reviews and modifies local programs to minimize impact nondomestic discharges from combined sewer overflows

o	The village maximizes the capabilities of the POTW to treat we weather flows and maximize wet weather flow to wastewater plant within the limits of the plant

o	The village prohibits dry weather overflows

o	The village controls solid floatable materials in combined sewer overflow

o	The village does the required inspection, monitoring and reporting of CSO

o	The village does pollution prevention programs that focus on reducing the level of contaminants in cso

o	The village implements a public notification programs of areas affected by CSO through a website and posted signs